Medical Surgical

15 Hampshire Street

Mansfield MA 02048

United States

www.medtronic.com

February 9, 2026

Johannes Smit
Cnr Mark & Joubert Street
Middelburg

In Reference to:

| Product Id | Product Description | Serial No/Lot No |
| --- | --- | --- |
| 87465 | 87465 SHILEY ORAL NASAL INTERMEDIATE 6.5 | SN: 1 / LN: Yes |

708694274

Dear Johannes Smit,

Thank you for informing Medtronic of your experience with the above referenced product
      . The information we received stated the endotracheal tube's cuff "burst" during intubation. There was no reported patient outcome. We, as a manufacturer, strive for excellence in constantly improving our products and the service we provide. Customer feedback is very important to our goal of manufacturing and distributing high quality products.

Conclusion:

Product Id: 87465 Serial/Lot No: 1 / Yes Information provided to Medtronic indicated that the complaint device was not available for evaluation. Medtronic conducted an investigation based upon all received information. Without a product returned for evaluation a likely cause for the reported condition could not be established. Medtronic's assessment determined that manufacturing action is not required at this time. To ensure product oversight, this complaint report is incorporated into Medtronic's complaint monitoring and tracking system. The manufacturing records for each device are thoroughly reviewed to ensure the product meets its quality specifications. Should new information become available the file will be re-opened and the investigation summary will be amended as appropriate.

Thank you for your time and concern in reporting this event. We appreciate the opportunity to evaluate product performance, as this is a valuable source of information for improving reliability and design. If we may be of further assistance, please contact your Medtronic Representative and they will work with our team.

Sincerely,

Tracy Landers

Sr MDR/Vigilance Manager | Customer Quality

Medtronic – Medical Surgical | Surgical